## summary
Catagory | Result
Total number of sequences analyzed: | 345780
---
# of Sequences with notes: | 52643
Percent with Notes | 15.2244201515414
---
# of failures, reassigns, and Ms Okays: | 46292
Percent failures, reassigns, and Ms Okays: | 13.3877031638614
---
# of Reassigns: | 3273
# of Ms Okays | 8137
---
# of failed sequences: | 34882
Percent Failed sequences | 10.0879171727688

## Top Failure Reasons
Failure_Reason | number_of_failures
Stellaris failures | 8724
Low Yield | 3978
Poor Purity | 2409
wobble | 1668
Ms NOT Okay | 1664
N- failure | 1651
Synthesis Failure | 1569
Poor TET | 1390
Flushed | 1343
DMT left on | 1070
Wrong Mass | 817
Impurity Present | 805
Base-swap | 650
Contamination | 615
No FLP | 587
Poor FAM | 521
Plate Scrambled | 509
Poor Phosphate Coupling | 411
Dye failure | 400
Incomplete Deprotection | 276
cpg in wells; remake per am 5/12/14 | 221
Depurination | 166
156
entire plate does not match target mass | 96
plate swapped with 1000615213 | 96
pooled by accident at lh - 11/7/2014 sm | 90
Extra FAM coupled | 84
missing wobble | 83
supersam issue 03/27/14 sd | 83
use previous | 79
multiwell fail: 7/9/2014 | 63
ms failure: 5/28/2014 | 62
ms failure: 5/27/2014 | 58
Column Issue | 51
1000659367 | 48
all samples heavy | 48
packed incorrect -ac | 48
1000622330 | 47
failed sequence in set 09/30/14 ag | 47
unfail previous:jh | 44
Poor Biotin Coupling | 42
dionex error-ei | 42
sodium: ts | 42
sodium adducts | 41
no tamra 10/02/14 kt | 40
spilled la 4/7/14 | 39
wobble?wobble | 39
multiwell fail: 4/3/2014 | 36
ms failure: 5/29/2014 | 33
wrong sequences- mal | 32
4/8 fail msqc | 30
multiwell fail: 3/28/2014?ms failure: 3/28/2014 | 30
multiwell fail: 6/20/2014 | 30
unintentional wobble | 30
Poor BHQ3 coupling | 28
MMT left on | 27
ms failure: 6/16/2014 | 27
missing wobble: ts | 26
poor cal or coupling | 26
ms failure: 1/23/2014 | 25
failed per joe k. -ac | 23
added phos bond- mal | 22
diluted w/ incorrect buffer not enough to re-aliquot 05/02/14 kt | 22
dropped bl 10/13/14 | 21
multiwell fail: 4/25/2014 | 21
Extra TET coupled | 20
poor ca gold coupling | 19
sodium | 19
collected more from previous set | 16
spilled 5/22/14 sd | 16
user error; bc | 16
potassium adducts?ms failure: 3/28/2014 | 15
samples lost at purification: jh | 15
dionex issue. nm. | 14
multiwell fail: 1/24/2014 | 14
multiwell fail: 2/10/2014 | 14
multiwell fail: 9/5/2014 | 14
unintentional wobble: ts | 14
Poor BHQ2 coupling | 13
salty | 13
ms failure: 10/6/2014 | 12
poor co coupling | 12
Poor Joe coupling | 11
all samples light by 673 | 11
poor cr coupling | 11
short ok: ts | 11
wrong internal mod: jh | 11
filled w/ 294982 05/14/14 kt | 10
multiwell fail: 4/2/2014 | 10
no cal orange coupling on all samples | 10
sample lost in rpc - 8/28/2014 sm | 10
spilled pre-rp; bc | 10
dionex issue dw | 9
multiwell fail | 9
multiwell fail: 6/13/2014 | 9
poor phsophate coupling: ts | 9
wrong sample | 9
missing wobbles | 8
ms failure: 10/13/2014 | 8
ms failure: 11/7/2014 | 8
multiwell fail: 4/16/2014 | 8
no tam: ts | 8
poor q670 coupling | 8
poor q705 coupling | 8
ran out of deck space dw | 8
swapped plate | 8
ms failure: 12/19/2014 | 7
multiwell fail: 2/25/2014 | 7
need 8min and 15min hplc | 7
no cg: ts | 7
no more fracs: jh?no more fracs: jh | 7
operator error- dw | 7
poor rox coupling | 7
sample looks crude | 7
spilled 12/17/14?spilled | 7
wobble?ms failure: 3/28/2014 | 7
yellow color lr 3/11/14?yellow color lr 3/11/14 | 7
Poor BHQ1 coupling | 6
ms failure: 11/6/2014 | 6
ms failure: 6/20/2014 | 6
multiwell fail: 12/30/2014 | 6
multiwell fail: 6/18/2014 | 6
poor ca red coupling | 6
pulled more fractions from ss 281162 dw | 6
swapped sample | 6
waiting remake 10/28/2014 sz | 6
discolored 3/17/14 kl | 5
ms failure: 10/8/2014 | 5
ms failure: 5/15/2014 | 5
ms failure: 8/1/2014 | 5
ms failure: 9/30/2014 | 5
no cr610: ts | 5
no wobble | 5
ok: ts | 5
picked more fractions dw | 5
picked more fractions from 292989 dw | 5
poor cal flour coupling | 5
poor cal gold coupling | 5
poor cg: ts | 5
poor puirty: ts | 5
spilled 9/2/2014 la | 5
wobble not expressed | 5
awaiting rerun | 4
background products | 4
came off early dw | 4
colored after elution 4/8/14 kl?colored after elution 4/8/14 kl | 4
diluted w/ wrong buffer not enough to re-aliquot 05/02/14 kt | 4
dionex error ei | 4
failed per joe k. -ac?ms failure: 9/5/2014 | 4
failed prp; bc | 4
make as seperate lot on a different day: jh | 4
missed desalt | 4
missing wobbles: ts | 4
ms failure: 1/24/2014 | 4
ms failure: 1/3/2014 | 4
ms failure: 11/26/2014 | 4
ms failure: 4/2/2014 | 4
ms failure: 5/22/2014 | 4
ms failure: 6/25/2014 | 4
ms failure: 7/30/2014 | 4
ms failure: 9/8/2014 | 4
multiwell fail: 2/19/2014 | 4
multiwell fail: 2/7/2014 | 4
multiwell fail: 4/7/2014 | 4
multiwell fail: 5/22/2014 | 4
no ca gold coupling | 4
no sample | 4
picked more fractions from 300052 | 4
pink primers 3/12/2014 la | 4
poor ca or coupling | 4
poor hex coupling | 4
sample lost bl 08/21/14 | 4
stellaris | 4
stelllaris ok: ts | 4
tubes to amy 04/23/14 kt wobble not expressed | 4
use prev. | 4
wobble?ms failure: 11/12/2014 | 4
3’ wobble -ac | 3
dropped. tips came off. 10/20/14 apl | 3
empty well 12/1/2014 sz?empty well 12/1/2014 sz | 3
failed per jk | 3
flouresence ImPurity: ts | 3
g-rich adducts | 3
missing wobble?picked more fractions dw | 3
missing wobble species | 3
ms failure: 1/27/2014 | 3
ms failure: 3/28/2014 | 3
ms failure: 5/19/2014 | 3
multiwell fail: 1/27/2014 | 3
no joe coupling | 3
no q670: ts | 3
no q670; bc | 3
ok per jh | 3
picked more fractions from 300878 dw | 3
pink 8/27/2014 sz | 3
poor 670 coupling. vt. | 3
poor bhq coupling cf | 3
poor cal gold: ts | 3
poor flour: ts | 3
poor pruity (74%): ts | 3
poor pruity: ts | 3
re-purified previous ss dw | 3
re-sample: ts | 3
sample lost, low volume 08/13/14 mrr | 3
shortmer ok: ts | 3
sodium adduct | 3
split wobble peak: jh | 3
two liquid senses and low volume - 04/17/14 sm | 3
used all material for ss312452 09/29/14 kt | 3
used material to fill ss322435 11/04/14 kt | 3
user error ei | 3
user error; tb | 3
wobble: ts | 3
wrong sequence, cancelled per customer- mal | 3
3' wobble -ac | 2
69% | 2
awaiting hplc | 2
blank tip -ac | 2
discolored yellow after dry down 10/20/14 sd | 2
empty wells bl 10/28/14 | 2
fhplc okay cf | 2
likely swapped with ss293094-01: ts | 2
lqh error lr 1/21/14 | 2
missing wobble: tsmultiwell fail: 4/16/2014 | 2
ms failure: 1/28/2014 | 2
ms failure: 7/21/2014 | 2
multiwell fail: 10/31/2014 | 2
multiwell fail: 10/9/2014 | 2
multiwell fail: 11/11/2014 | 2
multiwell fail: 2/28/2014 | 2
multiwell fail: 3/28/2014 | 2
multiwell fail: 3/5/2014 | 2
multiwell fail: 4/24/2014 | 2
multiwell fail: 4/29/2014 | 2
multiwell fail: 5/16/2014 | 2
multiwell fail: 7/10/2014 | 2
multiwell fail: 7/30/2014 | 2
multiwell fail: 8/15/2014 | 2
multiwell fail: 8/27/2014 | 2
network issue | 2
no ca red coupling | 2
no fractions pax dw | 2
no hex coupling | 2
no joe: ts | 2
no q570 | 2
no q670 coupling | 2
no q705 coupling | 2
ok | 2
order cancelled cf | 2
picked more fractions from 299165 dw | 2
poor ca Poor Fluorescense coupling | 2
poor cal orange coupling | 2
poor pruity (48%): ts | 2
poor q670 coupling: ts | 2
poor rox coupling cf | 2
poor tam coupling | 2
poor thiol coupling | 2
potassium salt | 2
potassium salts | 2
pulled tibes for re-purif kt poor rox coupling | 2
sample lost 07/30/14 | 2
short after build la | 2
snythesis failure | 2
ss issue dw | 2
swapped samples | 2
swapped with -02 | 2
swapped with -04 | 2
swapped with -05 | 2
tecan aliquoting error 10/20/14 kt | 2
undefined "u" oligo in sequence - pl | 2
unintentional wobbles: ts | 2
wobbble ok: ts | 2
wobble not observed | 2
wobble. | 2
wrong 3’ | 2
wrong internal mod: jh?wobble | 2
1000649561 | 1
3 min data is good | 1
3 min method data looked good, cf??need 3 min method cf | 1
3' wobble - ac | 1
68% | 1
73% | 1
75% | 1
76 % | 1
76% | 1
80% | 1
80%. | 1
81% | 1
82% | 1
83% | 1
84% | 1
90% pure | 1
ImPurity @ 355 | 1
added ss226333 w/ 316123 | 1
added wrong buffer la 2/24/2014 | 1
analytical ok: ts?running analytical hplc: ts??running analytical hplc: ts | 1
another peak at ~8680 | 1
archive and shipping tubes to josh lr 2/5/14; sodium adducts: ts | 1
background | 1
background noise | 1
background peaks | 1
blank tip - ac | 1
brownish discoloration after dry down 9/3/14 sd | 1
cancelled, imported twice by mistake- mal | 1
character presence -ac | 1
collected more fractions from previous set -ac | 1
cracked tip dw | 1
debris in sample 5/21/2014 la | 1
deleted so | 1
did not aliquot from mother tube | 1
did not aliquot from mother tube 02/11/14 kt | 1
did not aliquot from mother tube 09/02/14 kt | 1
did not aliquot from mother tube kt | 1
discolored (orange) after dry down 11/14/14 sd | 1
discolored (pink) after dry down 11/14/14 sd | 1
discolored after dry down (pink) 6/12/14 sd | 1
discolored after dry down (yellow) 6/12/14 sd | 1
discolored brown after dry down 9/9/14 sd | 1
discolored pink after dry down 03/24/14 sd | 1
discolored post-dry down 03/12/14 sd | 1
dropped bl 05/07/14 | 1
empower in gmp feb 14 | 1
empty well 09/23/14 sk | 1
empty well 12/16/2014 sz?empty well 12/16/2014 sz | 1
empty well 12/8/2014 sz | 1
empty well 12/8/2014 sz?empty well 12/8/2014 sz | 1
empty well lr 7/1/14 | 1
extra a added | 1
extra bhq | 1
extra bhq coupled | 1
extra bhq? cf | 1
extra cal red coupled | 1
extra g/t added | 1
extra g: ts | 1
extra q670 coupled | 1
extra rox coupling | 1
fail per joe: jh | 1
failed off plate, contains inosine- mal | 1
failed per jk. | 1
failing for qc purposes | 1
filled w/ 239933 10/01/14 kt | 1
filled w/ 313092 | 1
filled w/ 313104 10/06/14 kt | 1
filled w/ 313199 & 281100 09/29/14 kt | 1
filled w/ 317154 10/20/14 kt | 1
filled w/ 319034, 319107, 317155 11/04/14 kt | 1
filled w/ bulk ss246842 04/01/14 kt | 1
filled w/ ss304851-04 08/04/14 kt | 1
filled w/ ss305354-03 08/04/14 kt | 1
filled w/ ss305354-04 08/04/14 kt | 1
filled w/ ss308708&308709 08/21/14 kt | 1
filled w/ ss310672, 310654, 310655 09/29/14 kt | 1
filled w/ ss317151 10/20/14 kt | 1
filled w/ ss317152 10/20/14 kt | 1
filled w/ ss317153 10/20/14 kt | 1
filled w/ ss318397, 320276, 318400 11/04/14 kt | 1
filled w/ ss321002, 320095, -097, 321013, 318384 11/04/14 kt | 1
filled w/316117 & 312331 | 1
filled w/bulk ss246845 | 1
flouresence below 90%: ts | 1
good lc data, cf??reinject for better lc data cf | 1
i in sequence: jh | 1
iso okay cf | 1
k+ adducts | 1
large slat peaks,ms failure: 6/16/2014 | 1
lc data looks alright, cf???reinjecting for better data, cf | 1
lc data looks good, cf?reinject for better lc data | 1
less then 95% per customer: ts | 1
longmer multi mass data | 1
longmer multimass data | 1
low abundance of one wobble variant | 1
low ods after hfip rp | 1
low ods post repurification | 1
low wobble abundance | 1
m.i.a. ei | 1
main peak at 15059 | 1
make on expedite: jh | 1
mia 02/14/14 sd | 1
mia prp; bc | 1
missed/poor purification | 1
missing (user error); bc | 1
missing tip -ac | 1
missing tube from purification 03/17/14 kt | 1
missing wobble?wobble | 1
missing wobble species, not centered. cf | 1
missing wobble: tsms failure: 4/16/2014 | 1
missisng wobble: ts | 1
ms data looks good cf???need good lc data? cf | 1
ms failure: 1/13/2014 | 1
ms failure: 1/14/2014 | 1
ms failure: 1/22/2014 | 1
ms failure: 1/29/2014 | 1
ms failure: 1/7/2014 | 1
ms failure: 10/15/2014 | 1
ms failure: 12/3/2014?wobble | 1
ms failure: 2/10/2014 | 1
ms failure: 2/18/2014 | 1
ms failure: 2/19/2014 | 1
ms failure: 2/3/2014 | 1
ms failure: 3/12/2014 | 1
ms failure: 3/26/2014 | 1
ms failure: 3/28/2014?ms failure: 3/28/2014 | 1
ms failure: 4/24/2014 | 1
ms failure: 6/30/2014 | 1
ms failure: 7/16/2014 | 1
ms failure: 7/25/2014 | 1
ms failure: 7/29/2014 | 1
ms failure: 8/4/2014 | 1
ms failure: 9/16/2014 | 1
ms failure: 9/17/2014 | 1
multiple peaks >target mw | 1
multiwell fail: 1/29/2014 | 1
multiwell fail: 10/14/2014 | 1
multiwell fail: 3/10/2014 | 1
multiwell fail: 5/14/2014 | 1
multiwell fail: 5/21/2014 | 1
multiwell fail: 5/27/2014 | 1
multiwell fail: 9/17/2014 | 1
multiwell fail: 9/18/2014 | 1
need 30min, 15min hplc | 1
need flr hplc | 1
no Poor Fluorescenseescence | 1
no bhq coupling | 1
no bhq: ts | 1
no cal flour orange coupling cf | 1
no cal or coupling | 1
no co coupling | 1
no co coupling 8/14/14 sd | 1
no co: ts | 1
no fl | 1
no fractions collected dw | 1
no q670 cf | 1
no sample left to re-run at higher concentration for lc: ts 10/30/2014 | 1
no sp18 coupling | 1
no tc6bio | 1
no tip. nm. | 1
not 95% pure | 1
not 95% pure (93%) cf | 1
not on plate in pur. dw | 1
note: re-aliquoted missing tube -0009 6/2/14 sd | 1
oe-fractions not picked dw | 1
ok per jh??ok per jh | 1
ok per jh?ok per jh | 1
ok per joe k | 1
ok perjh | 1
ok: jj | 1
ok: ts 012114?no sample?no sample?no sample?no sample | 1
oligo canceled by customer:jh?oligo canceled by customer: jh | 1
only one wobble variant present | 1
p650 | 1
picked more fractions from 291919 dw | 1
picked more fractions from 303860 dw | 1
picked more fractions from 314884 dw | 1
picked more fractions from 317784 dw | 1
picked more fractions from ss 317241 dw | 1
picked morte fractions from 317657 dw | 1
pink primer 04/02/14 la | 1
pink primer 4/11/14 la?wobble | 1
pink primer 4/8/2014 la | 1
pink primer 5/13/2014 la | 1
pink primers 3/12/2014 la?wobble | 1
pooled ok: ts | 1
poor bhq coupling | 1
poor bhq coupling cf (injected 25) | 1
poor bhw coupling | 1
poor ca gold | 1
poor cal flour gold coupling cf | 1
poor cal flour red coupling cf | 1
poor cal or or bhq coupling | 1
poor cg coupling | 1
poor cg coupling: ts | 1
poor co coupling?ms failure: 8/15/2014 | 1
poor cr610 coupling: ts | 1
poor cr610 coupling: ts? ?poor cr610 coupling: ts | 1
poor flouresence: ts | 1
poor purification | 1
poor q670: ts | 1
poor q705: ts?poor q705: ts | 1
poor quality | 1
poor sp18 coupling | 1
poor tam: ts | 1
poor yueld prp dw | 1
potassium | 1
potassium adducts | 1
pulled for desalt 11/07/14 kt sodium: ts | 1
re lot bl 06/26/14 | 1
re-purify ss292265 | 1
re-sample: ts??not on plate??re-sample: ts | 1
re-sampled: ts??re-sampled: ts | 1
rec of 312883 & 310173 | 1
rec of 312884 & 310173 | 1
rec of 312885 & 310173 | 1
rec of 312886 & 310157 | 1
rec of 312887 & 310157 | 1
rec of ss322819-01 & 322404-01 11/07/14 kt | 1
rec. of ss307707 & 307427 08/12/14 kt | 1
rec. of ss309844 & ss308269 08/29/14 kt | 1
rec. of ss309886 & 308843 | 1
rec. of ss309887 & 308586 | 1
reinject more cf | 1
reinject okay??reinject cf | 1
reinjected looked good cf??reinject more cf | 1
remake per jk | 1
resampling shows good product sample looks crude | 1
resubmit qc sample | 1
ri gave good lc data??reinject for better lc data cf | 1
salt adducts cf | 1
salty, missed desalt | 1
sample is pink after dry down lr 5/12/14 | 1
sample looks crude. | 1
sample lost bl 07/30/14 | 1
sample ok | 1
sample resuspended and added to mother tube, labels swapped w/280982 lr 1/21/14; potentially swapped sample | 1
ship previous | 1
shipping tube already pulled for re-purification: jh?wobble | 1
short after cc fix 2/18/14 la | 1
short after norm 4/9/14 la | 1
short after rec 12/9/14 la | 1
short after rec lr 8/4/14 | 1
short okay | 1
snthesis failure | 1
sodium adducts: ts | 1
sodium adducts: ts?desalted previous ss dw | 1
spilled 6/10/14 sd | 1
spilled dw | 1
spilled; bc | 1
split peak due to wobble cf | 1
swapped with -01 | 1
swapped with -03 | 1
swapped with -06 | 1
swapped with -07 | 1
swapped with 302941-01 | 1
swapped with 302944-01 | 1
swapped with 305005-04? | 1
swapped with 311885-03 | 1
swapped with 311885-04 | 1
swapped with 327904 | 1
swapped with 327906 | 1
swapped with 328657 | 1
swapped with 328664 | 1
swapped with 328766 | 1
swapped with 328839 | 1
swapped with g1 | 1
swapped with h1 | 1
swapped with ss297951 | 1
swapped with ss297953 | 1
swapped with ss299971-03: ts | 1
swapped with ss299971-04: ts | 1
swapped with ss302817 | 1
swapped with ss302818 | 1
swapped with ss303684-01: ts | 1
swapped with ss303685-01: ts | 1
swapped with ss306937 | 1
swapped with ss306938 | 1
swapped with ss310869 | 1
swapped with ss312333-01: ts | 1
swapped with ss312335-01: ts | 1
swapped with ss320987: ts | 1
swapped with ss320990: ts | 1
swapped with ss326841 | 1
swapped with ss326843 | 1
switching to dt ferrocene (3’) due to instability of c3 ferrocene. nb | 1
thiolate?no sample | 1
tube mia 1/17/13 kl?tube mia 1/17/13 kl | 1
tubes to amy 04/23/14 kt missing wobble: ts | 1
unintended wobble | 1
uridine left on | 1
urindine left on | 1
use | 1
use previous ss as a record for incorrect shipment of material lr 4/9/14 | 1
used all material | 1
used all material for rec. 09/15/14 kt | 1
used previous ss for rec. 12/12/14 kt | 1
user error (mia); bc | 1
user error (spilled); bc | 1
user error: spilled on deck; bc | 1
waiting for 30min, 15min hplc | 1
waiting remake10/28/2014 sz | 1
wobble?ms failure: 11/12/2014?wobble?ms failure: 11/12/2014 | 1
wobble?ms failure: 2/28/2014 | 1
wobble?ms failure: 5/16/2014 | 1
wobble?picked more fractions from 314833 dw | 1
wobble?picked more fractions from 317784 dw | 1
wobble?wobble?ms failure: 3/6/2014 | 1
wobble shifted heavy | 1
wobble shifted light, potentially wrong wobble | 1
wrong processin (dry down) 8/11/2014 sz | 1
wrong purification 12/30/14 kt | 1
wrong wobble | 1
yellow 12/30/14 la | 1
yellow after dry down lr 4/25/14 | 1
yellow color in aliquoted tube lr 3/11/14 | 1
yellow tint 8/5/14 la | 1

## Both Mod Failure Rate
Five_Prime_mod | Three_Prime_mod | times_made | number_of_failures | failure_rate
#N/A | #N/A | 128892 | 7550 | 0.058576
TET | BHQ-1 | 30373 | 5016 | 0.16515
FAM | BHQ-1 | 43363 | 3928 | 0.090584
#N/A | Quasar 670 | 23218 | 3661 | 0.15768
#N/A | Quasar 570 | 23943 | 3282 | 0.13708
#N/A | CAL Fluor Red 610 | 11044 | 1702 | 0.15411
#N/A | Spacer C3 | 6716 | 1231 | 0.18329
#N/A | CAL Fluor Red 590 | 5520 | 694 | 0.12572
#N/A | T(CAL Fluor Red 635) | 1482 | 679 | 0.45816
#N/A | TAMRA-C9 | 5284 | 623 | 0.1179
BHQ-3 | Spacer C3 | 1081 | 538 | 0.49769
Phos | #N/A | 13858 | 491 | 0.035431
#N/A | C3-Fluorescein | 5803 | 490 | 0.084439
CAL Fluor Orange 560 | BHQ-1 | 2749 | 422 | 0.15351
#N/A | mdC(TEG-Amino) | 18516 | 401 | 0.021657
BHQ-1 | Spacer C3 | 2309 | 347 | 0.15028
BHQ-2 | Spacer C3 | 2480 | 346 | 0.13952
Amino C6 | #N/A | 1540 | 279 | 0.18117
Biotin | #N/A | 703 | 275 | 0.39118
#N/A | Biotin | 978 | 223 | 0.22802
Quasar 670 | BHQ-2 | 2253 | 222 | 0.098535
CAL Fluor Red 610 | BHQ-2 | 2047 | 218 | 0.1065
Quasar 670 | BHQ-3 | 472 | 122 | 0.25847
FAM | #N/A | 712 | 111 | 0.1559
CAL Fluor Gold 540 | BHQ-1 | 465 | 107 | 0.23011
BHQ-1 | C3-Fluorescein | 222 | 106 | 0.47748
5-TAMRA | #N/A | 547 | 98 | 0.17916
FAM | Spacer C3 | 558 | 95 | 0.17025
Quasar 705 | BHQ-2 | 448 | 90 | 0.20089
FAM | TAMRA | 893 | 86 | 0.096305
T(ROX) | BHQ-2 | 305 | 72 | 0.23607
#N/A | T(CAL Fluor Red 610) | 101 | 57 | 0.56436
#N/A | Amino C7 | 520 | 56 | 0.10769
#N/A | Phos | 351 | 56 | 0.15954
ROX-C6 | BHQ-2 | 165 | 55 | 0.33333
HEX | BHQ-1 | 489 | 53 | 0.10838
FAM | Phos | 126 | 50 | 0.39683
Thiol C6 SS | Methylene Blue | 106 | 50 | 0.4717
CAL Fluor Red 610 | #N/A | 308 | 49 | 0.15909
Thiol C6 SS | #N/A | 86 | 44 | 0.51163
HEX | #N/A | 355 | 42 | 0.11831
Quasar 705 | BHQ-3 | 108 | 41 | 0.37963
BHQ-1 | #N/A | 103 | 38 | 0.36893
TAMRA | BHQ-2 | 125 | 38 | 0.304
Amino C12 | #N/A | 87 | 34 | 0.3908
CAL Fluor Red 635 | BHQ-2 | 117 | 34 | 0.2906
CAL Fluor Orange 560 | #N/A | 73 | 30 | 0.41096
#N/A | Thiol C6 SS | 57 | 30 | 0.52632
Quasar 670 | #N/A | 148 | 29 | 0.19595
#N/A | BHQ-1 | 98 | 23 | 0.23469
#N/A | T(CAL Fluor Orange 560) | 30 | 22 | 0.73333
6-FAM | #N/A | 191 | 21 | 0.10995
BHQ-2 | #N/A | 99 | 21 | 0.21212
BHQ-3 | Quasar 705 | 33 | 21 | 0.63636
TET | TAMRA | 104 | 20 | 0.19231
Methylene Blue | Methylene Blue | 30 | 17 | 0.56667
T(JOE) | BHQ-1 | 179 | 16 | 0.089385
BHQ-2 | Quasar 670 | 43 | 15 | 0.34884
BHQ-3 | Quasar 670 | 19 | 14 | 0.73684
Amino C6 | Biotin | 32 | 13 | 0.40625
DABCYL | #N/A | 30 | 12 | 0.4
#N/A | Methylene Blue | 35 | 12 | 0.34286
5-TAMRA | BHQ-2 | 120 | 11 | 0.091667
CAL Fluor Gold 540 | #N/A | 30 | 11 | 0.36667
BHQ-2 | CAL Fluor Red 610 | 17 | 10 | 0.58824
Phos | Phos | 16 | 10 | 0.625
Quasar 705 | #N/A | 71 | 10 | 0.14085
T(ROX) | #N/A | 18 | 10 | 0.55556
#N/A | BHQ-2 | 101 | 10 | 0.09901
#N/A | C16 | 24 | 10 | 0.41667
Amino C6 | BHQ-2 | 18 | 9 | 0.5
CAL Fluor Red 590 | BHQ-2 | 120 | 8 | 0.066667
HEX | Phos | 24 | 8 | 0.33333
Thiol C6 SS | Amino C7 | 19 | 8 | 0.42105
#N/A | TEG-Biotin | 20 | 8 | 0.4
BHQ-2 | T(CAL Fluor Red 610) | 68 | 7 | 0.10294
T(C6-Biotin) | #N/A | 15 | 7 | 0.46667
Thiol C6 SS | T(Methylene Blue) | 11 | 7 | 0.63636
#N/A | DABCYL | 17 | 7 | 0.41176
Biotin | Spacer C3 | 23 | 6 | 0.26087
FAM | idC | 43 | 6 | 0.13953
BHQ-0 | Biosearch Blue | 17 | 5 | 0.29412
BHQ-1 | CAL Fluor Orange 560 | 16 | 5 | 0.3125
FAM | DABCYL | 48 | 5 | 0.10417
Methylene Blue | #N/A | 10 | 5 | 0.5
Phos | Spacer C3 | 12 | 5 | 0.41667
#N/A | Cosmic Quencher | 9 | 5 | 0.55556
#N/A | Pulsar 650 | 90 | 5 | 0.055556
BHQ-2 | T(CAL Fluor Orange 560) | 6 | 4 | 0.66667
JOE-C6 | #N/A | 15 | 4 | 0.26667
T(DIG) | Spacer C3 | 9 | 4 | 0.44444
T(DIG) | #N/A | 7 | 4 | 0.57143
#N/A | T(BHQ-1) | 12 | 4 | 0.33333
Amino C6 | CAL Fluor Red 610 | 19 | 3 | 0.15789
Amino C6 | Spacer C3 | 3 | 3 | 1
CAL Fluor Red 610 | mdC(TEG-Amino) | 5 | 3 | 0.6
CAL Fluor Red 610 | Spacer C3 | 10 | 3 | 0.3
DNP-TEG | Biotin | 7 | 3 | 0.42857
FAM | BHQ-2 | 35 | 3 | 0.085714
Phos | 3-O-Propargyl-A | 20 | 3 | 0.15
Phos | Biotin | 3 | 3 | 1
Pyrene | #N/A | 5 | 3 | 0.6
Spacer 3 | #N/A | 7 | 3 | 0.42857
T(Coumarin 042) | #N/A | 4 | 3 | 0.75
T(Texas Red) | #N/A | 4 | 3 | 0.75
Thiol C11 SS | Methylene Blue | 13 | 3 | 0.23077
Thiol C6 SS | BHQ-2 | 4 | 3 | 0.75
Thiol C6 SS | T(CAL Fluor Red 635) | 4 | 3 | 0.75
#N/A | Quasar 705 | 5 | 3 | 0.6
#N/A | Thiol C11 SS | 5 | 3 | 0.6
<See Joe> | #N/A | 4 | 2 | 0.5
Amino C6 | Quasar 670 | 5 | 2 | 0.4
BHQ-3 | Phos | 3 | 2 | 0.66667
CAL Fluor Red 590 | #N/A | 30 | 2 | 0.066667
Coumarin 047 | #N/A | 5 | 2 | 0.4
DABCYL | DABCYL | 18 | 2 | 0.11111
DABCYL | T(C6-Amino) | 3 | 2 | 0.66667
FAM | mdC(ROX) | 3 | 2 | 0.66667
FAM | mdC(TEG-Amino) | 3 | 2 | 0.66667
FAM | Spacer 6 | 22 | 2 | 0.090909
FAM | T(DIG) | 3 | 2 | 0.66667
JOE-C6 | BHQ-1 | 14 | 2 | 0.14286
Quasar 570 | BHQ-2 | 45 | 2 | 0.044444
Quasar 670 | Quasar 705 | 2 | 2 | 1
R6G | UPL | 4 | 2 | 0.5
ROX-C6 | #N/A | 18 | 2 | 0.11111
T(ROX) | Quasar 670 | 3 | 2 | 0.66667
TEG Biotin | ddC | 6 | 2 | 0.33333
Thiol C11 SS | #N/A | 2 | 2 | 1
Thiol C6 SS | Quasar 570 | 3 | 2 | 0.66667
Thiol C6 SS | T(CAL Fluor Red 590) | 4 | 2 | 0.5
#N/A | BHQ-3 | 22 | 2 | 0.090909
#N/A | Biosearch Blue | 9 | 2 | 0.22222
#N/A | Puromycin | 3 | 2 | 0.66667
#N/A | T(Methylene Blue) | 8 | 2 | 0.25
#N/A | TAMRA | 14 | 2 | 0.14286
5-Azido-dT | #N/A | 4 | 1 | 0.25
BHQ-1 | T(CAL Fluor Orange 560) | 16 | 1 | 0.0625
BHQ-2 | CAL Fluor Orange 560 | 2 | 1 | 0.5
BHQ-2 | Cholesterol | 2 | 1 | 0.5
BHQ-2 | Pulsar 650 | 14 | 1 | 0.071429
Biotin | ddC | 1 | 1 | 1
Biotin | Phos | 8 | 1 | 0.125
Biotin | Thiol C6 SS | 2 | 1 | 0.5
CAL Fluor Red 635 | Phos | 13 | 1 | 0.076923
CAL Fluor Red 635 | #N/A | 1 | 1 | 1
Coumarin (149AJS039) | #N/A | 2 | 1 | 0.5
Coumarin (149AJS047) | BHQ-1 | 6 | 1 | 0.16667
Coumarin 047 | BHQ-1 | 2 | 1 | 0.5
Coumarin 102 | #N/A | 4 | 1 | 0.25
d5SICS | #N/A | 2 | 1 | 0.5
DABCYL | Biosearch Blue | 3 | 1 | 0.33333
DABCYL | C7-Coumarin 047 | 2 | 1 | 0.5
DNP-TEG | #N/A | 2 | 1 | 0.5
FAM | dU(Anthraquinone) | 2 | 1 | 0.5
HEX | TAMRA | 3 | 1 | 0.33333
Phos | Amino C7 | 2 | 1 | 0.5
Phos | Puromycin | 3 | 1 | 0.33333
Pyrene | BHQ-1 | 5 | 1 | 0.2
Quasar 570 | #N/A | 50 | 1 | 0.02
Quasar 670 | BHQ-1 | 6 | 1 | 0.16667
Quasar 670 | Spacer 6 | 1 | 1 | 1
Quasar 705 | Phos | 8 | 1 | 0.125
T(BHQ-2) | #N/A | 5 | 1 | 0.2
T(Dabsyl) | #N/A | 82 | 1 | 0.012195
T(DIG) | Methylene Blue | 1 | 1 | 1
T(Methylene Blue) | Thiol C6 SS | 1 | 1 | 1
T(Methylene Blue) | #N/A | 8 | 1 | 0.125
TET | #N/A | 7 | 1 | 0.14286
Thiol C11 SS | C3-Ferrocene | 2 | 1 | 0.5
Thiol C11 SS | T(Methylene Blue) | 2 | 1 | 0.5
Thiol C6 SS | BHQ-1 | 2 | 1 | 0.5
Thiol C6 SS | C3-Ferrocene | 3 | 1 | 0.33333
Thiol C6 SS | C3-Fluorescein | 3 | 1 | 0.33333
#N/A | BHQ-0 | 2 | 1 | 0.5
#N/A | CAL Fluor Orange 560 | 624 | 1 | 0.0016026
#N/A | ddC | 2 | 1 | 0.5
#N/A | ddT | 2 | 1 | 0.5
#N/A | mdC(ROX) | 2 | 1 | 0.5
<See Joe> | <See Joe> | 1 | 0 | 0
<See Joe> | BHQ-2 | 1 | 0 | 0
<See Joe> | BHQ-3 | 1 | 0 | 0
5-TAMRA | Biotin | 1 | 0 | 0
Alkyne | Methylene Blue | 1 | 0 | 0
Alkyne | #N/A | 1 | 0 | 0
Amino C12 | TAMRA | 1 | 0 | 0
Amino C6 | 3-O-(TIPS-Propargyl)-U | 1 | 0 | 0
Amino C6 | BHQ-3 | 8 | 0 | 0
Amino C6 | Cosmic Quencher | 1 | 0 | 0
Amino C6 | Methylene Blue | 2 | 0 | 0
Benzaldehyde C2 | T(C6-Amino) | 3 | 0 | 0
BHQ-0 | C3-Fluorescein | 1 | 0 | 0
BHQ-1 | Biosearch Blue | 7 | 0 | 0
BHQ-1 | Biotin | 1 | 0 | 0
BHQ-1 | Cholesterol | 2 | 0 | 0
BHQ-1 | ddC | 2 | 0 | 0
BHQ-1 | dU(Anthraquinone) | 1 | 0 | 0
BHQ-1 | Phos | 4 | 0 | 0
BHQ-1 | T(C6-Amino) | 1 | 0 | 0
BHQ-2 | Biosearch Blue | 1 | 0 | 0
BHQ-2 | Biotin | 1 | 0 | 0
BHQ-2 | Quasar 705 | 2 | 0 | 0
BHQ-2 | Spacer 6 | 4 | 0 | 0
BHQ-3 | Thiol C6 SS | 1 | 0 | 0
BHQ-3 | #N/A | 22 | 0 | 0
Biotin | Biotin | 5 | 0 | 0
CAL Fluor Orange 560 | BHQ-2 | 2 | 0 | 0
CAL Fluor Orange 560 | Spacer C3 | 6 | 0 | 0
CAL Fluor Red 590 | Spacer C3 | 1 | 0 | 0
CAL Fluor Red 610 | T(CAL Fluor Red 610) | 1 | 0 | 0
CAL Fluor Red 635 | Biotin | 1 | 0 | 0
CAL Fluor Red 635 | Spacer C3 | 1 | 0 | 0
Cholesterol | Spacer C3 | 3 | 0 | 0
Cholesterol | #N/A | 1 | 0 | 0
Coumarin (149AJS006) | BHQ-1 | 1 | 0 | 0
Coumarin (149AJS039) | BHQ-1 | 5 | 0 | 0
Coumarin (149AJS041) | BHQ-1 | 1 | 0 | 0
Coumarin (149AJS047) | #N/A | 1 | 0 | 0
Coumarin 006 | BHQ-1 | 1 | 0 | 0
Coumarin 039 | BHQ-1 | 1 | 0 | 0
Coumarin 039 | Biosearch Blue | 1 | 0 | 0
Coumarin 039 | C7-Coumarin 039 | 1 | 0 | 0
Coumarin 039 | DABCYL | 1 | 0 | 0
Coumarin 039 | T(BHQ-1) | 1 | 0 | 0
Coumarin 039 | #N/A | 3 | 0 | 0
Coumarin 041 | BHQ-1 | 1 | 0 | 0
Coumarin 047 | Biosearch Blue | 1 | 0 | 0
Coumarin 047 | DABCYL | 1 | 0 | 0
Coumarin 047 | T(BHQ-1) | 1 | 0 | 0
Coumarin 466 | #N/A | 3 | 0 | 0
DABCYL | C7-Coumarin 039 | 2 | 0 | 0
DIG-C6 | Methylene Blue | 1 | 0 | 0
DNP-TEG | Methylene Blue | 1 | 0 | 0
FAM | BHQ-0 | 4 | 0 | 0
FAM | BHQ-3 | 1 | 0 | 0
FAM | Biotin | 4 | 0 | 0
FAM | C3-Fluorescein | 18 | 0 | 0
FAM | Quasar 670 | 6 | 0 | 0
FAM | UPL | 6 | 0 | 0
HEX | BHQ-0 | 1 | 0 | 0
HEX | BHQ-2 | 6 | 0 | 0
HEX | DABCYL | 5 | 0 | 0
HEX | Spacer 6 | 1 | 0 | 0
HEX | Spacer C3 | 8 | 0 | 0
Methylene Blue | Thiol C6 SS | 3 | 0 | 0
NIP-C6 | #N/A | 2 | 0 | 0
Phos | C3-Fluorescein | 4 | 0 | 0
Phos | Quasar 570 | 1 | 0 | 0
Pyrene | C3-Fluorescein | 1 | 0 | 0
Quasar 570 | Quasar 570 | 1 | 0 | 0
Quasar 670 | <See Joe> | 1 | 0 | 0
Quasar 670 | BHQ-0 | 1 | 0 | 0
Quasar 670 | Phos | 4 | 0 | 0
Quasar 670 | Quasar 570 | 1 | 0 | 0
Quasar 670 | Spacer C3 | 30 | 0 | 0
Quasar 705 | <See Joe> | 1 | 0 | 0
T(C6-Amino) | #N/A | 3 | 0 | 0
T(DIG) | ddC | 1 | 0 | 0
T(JOE) | #N/A | 1 | 0 | 0
T(Methylene Blue) | T(Ferrocene) | 1 | 0 | 0
Thiol C6 SS | Biotin | 1 | 0 | 0
Thiol C6 SS | T(DIG) | 1 | 0 | 0
Trimethoxystilbene | BHQ-1 | 4 | 0 | 0
Trimethoxystilbene | C3-Fluorescein | 1 | 0 | 0
Trimethoxystilbene | Phos | 10 | 0 | 0
#N/A | T(C6-Amino) | 48 | 0 | 0
#N/A | T(CAL Fluor Gold 540) | 6 | 0 | 0
#N/A | T(CAL Fluor Red 590) | 1 | 0 | 0

## Five Prime Mod Failure Rate
Five_Prime_mod | times_made | number_of_failures | failure_rate
#N/A | 233614 | 20862 | 0.089301
TET | 30484 | 5037 | 0.16523
FAM | 45850 | 4293 | 0.093631
BHQ-3 | 1159 | 575 | 0.49612
Phos | 13919 | 514 | 0.036928
BHQ-1 | 2684 | 497 | 0.18517
CAL Fluor Orange 560 | 2830 | 452 | 0.15972
BHQ-2 | 2739 | 406 | 0.14823
Quasar 670 | 2919 | 377 | 0.12915
Amino C6 | 1629 | 309 | 0.18969
Biotin | 742 | 284 | 0.38275
CAL Fluor Red 610 | 2371 | 273 | 0.11514
Quasar 705 | 636 | 142 | 0.22327
Thiol C6 SS | 247 | 122 | 0.49393
CAL Fluor Gold 540 | 495 | 118 | 0.23838
5-TAMRA | 668 | 109 | 0.16317
HEX | 892 | 104 | 0.11659
T(ROX) | 326 | 84 | 0.25767
ROX-C6 | 183 | 57 | 0.31148
TAMRA | 125 | 38 | 0.304
CAL Fluor Red 635 | 133 | 36 | 0.27068
Amino C12 | 88 | 34 | 0.38636
Methylene Blue | 43 | 22 | 0.51163
6-FAM | 191 | 21 | 0.10995
DABCYL | 58 | 18 | 0.31034
T(JOE) | 180 | 16 | 0.088889
CAL Fluor Red 590 | 151 | 10 | 0.066225
T(DIG) | 18 | 9 | 0.5
T(C6-Biotin) | 15 | 7 | 0.46667
Thiol C11 SS | 19 | 7 | 0.36842
JOE-C6 | 29 | 6 | 0.2069
BHQ-0 | 18 | 5 | 0.27778
DNP-TEG | 10 | 4 | 0.4
Pyrene | 11 | 4 | 0.36364
Coumarin 047 | 10 | 3 | 0.3
Quasar 570 | 96 | 3 | 0.03125
Spacer 3 | 7 | 3 | 0.42857
T(Coumarin 042) | 4 | 3 | 0.75
T(Texas Red) | 4 | 3 | 0.75
<See Joe> | 7 | 2 | 0.28571
R6G | 4 | 2 | 0.5
T(Methylene Blue) | 10 | 2 | 0.2
TEG Biotin | 6 | 2 | 0.33333
5-Azido-dT | 4 | 1 | 0.25
Coumarin (149AJS039) | 7 | 1 | 0.14286
Coumarin (149AJS047) | 7 | 1 | 0.14286
Coumarin 102 | 4 | 1 | 0.25
d5SICS | 2 | 1 | 0.5
T(BHQ-2) | 5 | 1 | 0.2
T(Dabsyl) | 82 | 1 | 0.012195
Alkyne | 2 | 0 | 0
Benzaldehyde C2 | 3 | 0 | 0
Cholesterol | 4 | 0 | 0
Coumarin (149AJS006) | 1 | 0 | 0
Coumarin (149AJS041) | 1 | 0 | 0
Coumarin 006 | 1 | 0 | 0
Coumarin 039 | 8 | 0 | 0
Coumarin 041 | 1 | 0 | 0
Coumarin 466 | 3 | 0 | 0
DIG-C6 | 1 | 0 | 0
NIP-C6 | 2 | 0 | 0
T(C6-Amino) | 3 | 0 | 0
Trimethoxystilbene | 15 | 0 | 0

## Three Prime Mod Failure Rate
Three_Prime_mod | times_made | number_of_failures | failure_rate
BHQ-1 | 77765 | 9572 | 0.12309
#N/A | 148181 | 9208 | 0.06214
Quasar 670 | 23294 | 3694 | 0.15858
Quasar 570 | 23949 | 3284 | 0.13712
Spacer C3 | 13250 | 2578 | 0.19457
CAL Fluor Red 610 | 11080 | 1715 | 0.15478
BHQ-2 | 5912 | 775 | 0.13109
CAL Fluor Red 590 | 5520 | 694 | 0.12572
T(CAL Fluor Red 635) | 1486 | 682 | 0.45895
TAMRA-C9 | 5284 | 623 | 0.1179
C3-Fluorescein | 6053 | 597 | 0.098629
mdC(TEG-Amino) | 18524 | 406 | 0.021918
Biotin | 1034 | 242 | 0.23404
BHQ-3 | 612 | 165 | 0.26961
Phos | 567 | 129 | 0.22751
TAMRA | 1015 | 109 | 0.10739
Methylene Blue | 190 | 83 | 0.43684
Amino C7 | 541 | 65 | 0.12015
T(CAL Fluor Red 610) | 170 | 64 | 0.37647
Thiol C6 SS | 64 | 32 | 0.5
T(CAL Fluor Orange 560) | 52 | 27 | 0.51923
Quasar 705 | 42 | 26 | 0.61905
DABCYL | 90 | 14 | 0.15556
C16 | 24 | 10 | 0.41667
T(Methylene Blue) | 21 | 10 | 0.47619
Biosearch Blue | 39 | 8 | 0.20513
TEG-Biotin | 20 | 8 | 0.4
CAL Fluor Orange 560 | 642 | 7 | 0.010903
idC | 43 | 6 | 0.13953
Pulsar 650 | 104 | 6 | 0.057692
Cosmic Quencher | 10 | 5 | 0.5
ddC | 12 | 4 | 0.33333
T(BHQ-1) | 14 | 4 | 0.28571
3-O-Propargyl-A | 20 | 3 | 0.15
mdC(ROX) | 5 | 3 | 0.6
Puromycin | 6 | 3 | 0.5
Spacer 6 | 28 | 3 | 0.10714
Thiol C11 SS | 5 | 3 | 0.6
C3-Ferrocene | 5 | 2 | 0.4
T(C6-Amino) | 55 | 2 | 0.036364
T(CAL Fluor Red 590) | 5 | 2 | 0.4
T(DIG) | 4 | 2 | 0.5
UPL | 10 | 2 | 0.2
BHQ-0 | 8 | 1 | 0.125
C7-Coumarin 047 | 2 | 1 | 0.5
Cholesterol | 4 | 1 | 0.25
ddT | 2 | 1 | 0.5
dU(Anthraquinone) | 3 | 1 | 0.33333
<See Joe> | 3 | 0 | 0
3-O-(TIPS-Propargyl)-U | 1 | 0 | 0
C7-Coumarin 039 | 3 | 0 | 0
T(CAL Fluor Gold 540) | 6 | 0 | 0
T(Ferrocene) | 1 | 0 | 0